FAMOUS LOCKERS

Solid Phenolic Lockers

Materials

A.	Panel Material:

1. Decorative papers impregnated with the melamine resin on faces with a 	clear protective overcoat and integrally compression molded within a core 	consisting of solid phenolic impregnated kraft papers.

Specifier Note: Panel Material is available in Class B or Class A fire rating (ASTM E 84). Select from either option. Class A is available made to order at extended lead time.

2. Core or panel material shall meet fire resistance per ASTM E84 (Class B) (Class A).

3. Colors:

a. Core: Black (Standard) or Color-Through

b. Locker Interior: White

c. Exterior locker TBD

Specifier Note: Doors and ancillary panels are available in a wide range of colors at extended lead time. A standard stocking range is available in a shorter lead time. Consult with the manufacturer to avoid construction delays.

c. Doors and Ancillary Panels: (Manufacturer’s quick ship color 				collection color range) (Manufacturer’s full color range. Extended lead time

color collection).

B. 	Doors:

1. Material: .5” (13mm) thick solid phenolic composite material.

2. Corners: Rounded

3. Edges: Crescent profile; machine polished and free from tooling imperfections

Specifier Note: Doors can be attached to hinge through-bolting (standard) or blind fixing (optional). Through-bolting is recommended for vandal-prone and high traffic areas. Blind fixing is recommended only for light duty areas where vandalism is not of concern.

5. Door Fastening: (Through Bolted) (Blind Fixing).

C.	Locker Bodies

1. Exposed edges: Straight profile; eased edges to remove sharpness; machine polished and free from tooling imperfections.

2. Tops, bottoms, and intermediate shelves: .375” (10mm) thick solid phenolic composite material with ventilation holes.

3. Locker backs: +/- .3125” (8mm) thick solid composite material.

4. Locker Sides: .3125” (8mm) thick solid phenolic composite material.

Specifier Note: Locker bodies are modular and can stand alone as a single unit. Locker body side panels have exposed fasteners. Applied finished end panels conceal fasteners when locker side is visible from the layout conditions. Fillers panels enclose exposed fasteners when locker side meets a corner or wall. Finished end panels and/or filler panels are required for a finished installation.

D.         Ancillary Panels:   Finished end panels and closures shall be .5” (13mm) thick solid

phenolic composite material.

E.          Hardware

1. Hinges:

a. Material:  304-grade stainless steel.

b. Quantity: Three (3) for full height doors and two (2) for multi-tier units.

c. 5 knuckle hinge shall open no more than 90 degrees.

2. Interior hooks:

a. Material:  Stainless Steel.

b. 3 per opening on 1, 2 and “Z” tier lockers.

3. Fasteners: Exposed fasteners shall be 304 stainless steel

4. Fastener Application: Apply directly into or through the material.

5. Other Reinforcement: Aluminum or metal profiles for reinforcements shall not be permitted.

6. Door Identification (identification plates): 1per door in sequence as noted on drawings by architect.

F.  Base

Specifier Note:  Edit this paragraph to indicate curb type(s) and indicate on plans.

1. Base not furnished with Locker: (Curb mounted) (___________)

2. Base furnished with locker: Adjustable leg mounted: 3 3/4” adjustable to 5”, ABS plastic        mounting-leveling leg.

Accessories and Options

Specifier Note:  Select required accessories and delete items not required.  Consult manufacturer for accessory recommendations.

Specifier Note:  Choices of locking options are available to meet the various needs of locker users.  Consult with manufacturer for lock selection recommendation.  Specify lock selection(s) and indicate on plans where applicable.

A.	 Locking System: (Hasp for padlock) (Kenstan® dead-bolt key lock) (Digilock Digital Lock) (MasterLock® built-in dead-lock combination lock) (Safe-O-Mat® Coin) (__________).

Specifier Note:  Sloping tops are optional, flat tops are standard and are included as part of the locker body.  Specify sloped or flat tops.

B.	Locker Top: .375” (10mm) top shall be (Flat] (Sloped width .5” (13mm) thick solid phenolic composite material).

C.	Door Identification:

1. Numbering sequence to be provided by architect.

D.         Hang Rod: Stainless Steel.

E.	Additional Door Ventilation: (Holes through door in (diamond) (circle) pattern) (__________).

Execution

I.	Examination:  Examine site conditions before locker installation. Notify architect of unacceptable areas.  Do not install locker until unacceptable conditions have been corrected.

II.	Installation

- Install lockers in locations as shown on shop drawings per manufacturer’s instructions.

- Install lockers plumb, level, square, rigid, and flush.

- Install all required trim, fillers, end panels, and closures per manufacturer’s instructions.

- Use hardware supplied or recommended by the manufacturer.

- Attach number plates to doors as indicated on shop drawings.

- Correct and/or replace damaged components as directed by architect.

Adjustment

- Adjust doors and locks for smooth operation without binding.

- Lubricate door hinges and locks per manufacturer’s instructions.

Cleaning

- Clean all surfaces in accordance with manufacturer’s instructions.

- Do not use abrasive cleaners.

End of Section